## Slide 1: Asset Performance Management Defined
- How HxGN EAM and HxGN APM work together and how to get started -
Matt Peak
Solution Consultant
Hexagon

## Slide 2: Outline
Removing Barriers
SECTION 1
HxGN EAM & HxGN APM Together
SECTION 2
Operationalize Faster
SECTION 3

## Slide 3: Outline
Removing Barriers
SECTION 1
HxGN EAM & HxGN APM Together
SECTION 2
Operationalize Faster
SECTION 3

## Slide 5: “A good plan…executed now is better than a perfect plan executed next week.” – George S. Patton
But I can’t execute any plan because I…
Don’t have the data.
Don’t know where to start.
It will take too long.

## Slide 6: The ‘Old’ Work Processes – Where we might be today…
Equipment Installed & Running
EAM

## Slide 7
Equipment Installed & Running
Run to Failure
EAM
The ‘Old’ Work Processes – Where we might be today…

## Slide 8: The ‘Old’ Work Processes – Where we might be today…
Equipment Installed & Running
Failure Occurs
Run to Failure
EAM

## Slide 9: The ‘Old’ Work Processes – Where we might be today…
Equipment Installed & Running
Failure Occurs
Run to Failure
EAM
Work Performed

## Slide 10: The ‘Old’ Work Processes – Where we might be today…
Equipment Installed & Running
Failure Occurs
Run to Failure
EAM
Work Performed
Data Captures:
What was done
What parts were used
Who performed the work
What it cost

## Slide 11: The ‘Old’ Work Processes – Where we might be today…
Equipment Installed & Running
Failure Occurs
Run to Failure
EAM
Work Performed
Equipment Working
Data Captures:
What was done
What parts were used
Who performed the work
What it cost

## Slide 12: The ‘Old’ Work Processes – Where we might be today…
Equipment Installed & Running
Failure Occurs
Run to Failure
EAM
Work Performed
Equipment Working
Data Captures:
What was done
What parts were used
Who performed the work
What it cost

## Slide 13: The ‘Old’ Work Processes – Where we might be today…
Equipment Installed & Running
Failure Occurs
Run to Failure
EAM
Work Performed
Equipment Working
What’s not captured:
What failed
How to prevent future failures
If our efforts are effective

## Slide 14: Integrated Work Processes
OTHER SYSTEMS
Historian
Condition Monitoring
J5 Operator Rounds
Findings, Readings, Labor, and Observations
HxGN APM alerts you to threats
Workers quickly triage, diagnose, and mitigate issues on EAM Mobile
Valuable data from the checklists and inspections is captured
Calculate asset health with detailed equipment data
Pull in data from connected equipment, operator rounds, and alarms
Work is performed
APM
Advisories and Targeted Work
EAM
EAM
EAM MOBILE

## Slide 15: Working Together Maximize Execution and Effectiveness
Effectiveness (Performance Management )
Execution (Asset Management)
Optimized Asset Management
  Precision PMs
  Optimized OEM strategy
  Dynamic maintenance strategy
EAM provides a robust platform for the execution of maintenance and other operational tasks.
APM monitors the strategy and the asset to determine its effectiveness.
With EAM and APM working together:
Effective Strategy Poorly Executed
Poor Strategy Executed Well

## Slide 16: HxGN APM: A prescriptive process
Monitor
  3. Use existing data to MONITOR for emerging threats
Protect
  2. Implement a strategy to PROTECT the asset, leveraging work, sensor data, and machine learning.
Risk
Act
  1. Start by ASSESSING failure risks on assets that matter as monetized exposure.
  4. ACT on threats as they emerge, and mitigate risk in HxGN EAM
Assess Risk: PLAN
Protect Assets: DO
Monitor Twin: CHECK
Acton on Threats: ACT

## Slide 17: HxGN APM: A prescriptive process
Monitor
  3. Check
Protect
  2. Do
Risk
Act
  1. Plan
  4. ACT
Assess Risk: PLAN
Protect Assets: DO
Monitor Twin: CHECK
Acton on Threats: ACT

## Slide 18: Assess
Do you understand your risk exposure today?
Probability
50
percent
500k
dollars
Consequences
250k
dollars
Risk
Assess at the asset level or at the failure mode level.
How has this prioritized of your efforts?
Risk, as financial exposure
Assess Risk: PLAN
Protect Assets: DO
Monitor Twin: CHECK
Acton on Threats: ACT

## Slide 19
Protections
Measure bearing temps @ …
Measure motor circuit @ …
Perform oil analysis
Measure insulation index
6 hours ago
6 hours ago
3 months ago
15 days ago
+22 Protections
48%
Risk
Monitor
Act
Assess Risk: PLAN
Protect Assets: DO
Monitor Twin: CHECK
Acton on Threats: ACT

## Slide 20: Protections
Activity Protection
Condition Protections
Pattern Protection
Active monitoring of data with initiation of prescriptive actions that mitigate emerging threats.
Monitoring maintenance actions for target assets, providing discrepancies, average completion times, and forecast for next interval.
Condition monitoring on one or more sensor feeds with logging of excursion events for follow-up action.
AI/ML model for monitoring chosen sensor feeds and their behavior. Train the model on what looks good.
Assess Risk: PLAN
Protect Assets: DO
Monitor Twin: CHECK
Acton on Threats: ACT

## Slide 21
Coverage
Impact
16 of 17 Protected
94%
No Wins or Losses
Bearing Failure
NML Failure
Fuse Failure
$99,000
$15,499
$49
$0
+14 Failures Modes
Risk
Protect
Act
Assess Risk: PLAN
Protect Assets: DO
Monitor Twin: CHECK
Acton on Threats: ACT

## Slide 22
Risk
Protect
Monitor
Response
To Act On
Visual inspection
Check Operational…
PMP-250-HOUR
2024-10-05
2024-10-01
2024-10-05
+7 Active Advisories
10 Active Advisories
High
None
250 running hours inspection is overdue by a..
Dead head condition has been detected. Che..
Bearing temperature are outside of expected..
Assess Risk: PLAN
Protect Assets: DO
Monitor Twin: CHECK
Acton on Threats: ACT

## Slide 23: Advisories
Reviewers
Collaboration
Asset Teams
Reliability Team
Operations
Individuals
3
Evidence and troubleshooting history
Trigger date/time
Trigger logic
Failure modes
Priority
Originating Protection
State: Completed
Actions Taken
Review operating parameters
Ensure designs
Impact: Wins and Losses
Assess Risk: PLAN
Protect Assets: DO
Monitor Twin: CHECK
Acton on Threats: ACT

## Slide 24: Asset Twin
Risk
Exposure
Status
At Mission Time
$137k
25%
Failure Probability
Twin Start
Mission Expires
Last Evaluated
Twin Start
2019-06-04
2028-06-04
6 hours ago
Protection Index
Protections
Measure bearing temps @ …
Measure motor circuit @ …
Perform oil analysis
Measure insulation index
6 hours ago
6 hours ago
3 months ago
15 days ago
+22 Protections
48%
Coverage
Impact
Failure Modes
16 of 17 Protected
94%
No Wins or Losses
Bearing Failure
NML Failure
Fuse Failure
$99,000
$15,499
$49
Response
To Act On
Visual inspection
Check Operational…
PMP-250-HOUR
2024-10-05
2024-10-01
2024-10-05
+7 Active Advisories
$0
+14 Failures Modes
10 Active Advisories
High
None
250 running hours inspection is overdue by a..
Dead head condition has been detected. Che..
Bearing temperature are outside of expected..
ASSESS RISK
PROTECT ASSET
MONITOR TWIN
ACT ON THREATS

## Slide 25: Outline
Removing Barriers
SECTION 1
HxGN EAM & HxGN APM Together
SECTION 2
Operationalize Faster
SECTION 3

## Slide 26: APM Twin / EAM Asset

## Slide 29: HxGN APM Embedded Twin Library
Asset
Failure Mode
Protections

## Slide 30: APM Twin / EAM RCM Template

## Slide 31: APM Twin / EAM RCM Template

## Slide 32: HxGN EAM + HxGN APM
Significant risk level
Failure risks analysis
Significant
Failure risk level
Failure Mitigation
Performance calculation
Work Orders
Condition survey
Equipment Ranking
Root Causes Analysis
Monitor Twin
Act (Advisories)
FMECA
Asset Strategies
Risk Analysis
Assess Risk
Significant risk level
Protections (Custom or from the library)
Failure modes
External data Sensors / IoT/ SCADA
Twin

## Slide 33: Outline
Removing Barriers
SECTION 1
HxGN EAM & HxGN APM Together
SECTION 2
Operationalize Faster
SECTION 3

## Slide 34: EAM + APM Integration
HxGN APM
EAM is the system of record for:
Assets
Hierarchy
Work Orders
Top 200 assets determined by financial history
APM is the system of record for:
Sensor data
Protections
Advisories
Asset Risk Analyzer
HxGN EAM
Top 200 assets
Top 200 asset’s work details
Assets / Positions / Systems
Structure
Excel Template
Asset Risk
Assets
Structure
Work History
Work Orders
Advisory
Work Order / Work Request

## Slide 35: APM Integration Model
Engineering Basis
3D Models
P&IDs
Documents
Asset Lifecycle Information Management
Maintenance Plans
Work Requests
Assets
Work History
Inspections
Enterprise Asset Management
Operator Observations
Visual Inspections
Off-line Readings
Operator Interventions
Operations Management
Alarm Configuration
Alarm Events
Operator Change
Loop Performance
Alarm Management
Conditions
Faults
Production Events
Cycles
Yield
Connected Equipment & Historians
RCM
FMEA RBI
HAZOP
PM Plans
Existing Strategies
Asset Performance Management
Asset Risk Assessment
Strategy Management
Strategy Optimization
Asset Condition & Health
Failure Prediction
Predictive Maintenance
Asset Twin Library
*Future Roadmap – Under Consideration*

## Slide 36: HxGN APM Embedded Twin Library
HxGN APM ASSET TWIN LIBRARY
Extendable for new & existing strategies
ASSESS
RISK
PROTECT ASSET
MONITOR
TWIN
ACT ON
THREATS
Covering common industrial equipment classes, including base failure rates.
200+ ASSET TWIN MODELS
Common failure mode definitions which can be extended based upon strategy development rigor.
1300+ PROTECTIONS
1700+ FAILURE MODES
Interval, condition and analytic driven triggers to notify and advise of emerging failure risk based on protection definitions.
3900+ CONDITIONS
Prescriptive advisories that provide proactive warning of failure risk which can be tuned to your organization and operating context.
1300+ ACTIONS
Activity and Condition protection definitions that include scope, interval, conditions and analytics which are deployed to guard against failure modes occurring.

## Slide 37: Asset Twin Generator
**ROADMAP**
**ROADMAP**

## Slide 38: Asset Risk Analyzer
Rapid quantitative assessment of asset risk directly from your EAM work history
Identifies assets performing below industry benchmarks
Pinpoints where you should focus strategy development efforts
Best of all, it is FREE and easy to use
www.assetriskanalyzer.com

## Slide 39: We must start somewhere.
Do not let perfect be the enemy of good.

## Slide 40: Questions
Add text or image

## Slide 41: Enter Header
Add text or image
Add text or image

## Slide 42: Enter Heading
Click icon in box to the left to add image. Intended to fill entire side.

## Slide 43: Enter Heading
Click icon in box to the right to add image. Intended to fill entire side.

## Slide 44: Timeline or Flow
Enter Text Here
Description
Enter Text Here
Description
Enter Text Here
Description
Enter Text Here
Description

## Slide 45: Enter Header
Enter description
Enter description
Enter description
Enter Text Here
Enter Text Here
Enter Text Here

## Slide 46: Enter Heading
Use bolded green text to emphasize text in a block. Continue text in regular weight and color.

## Slide 47: Enter Heading
Steps or Topics
Enter a long or short description. Box will adjust length automatically.
Steps or Topics
Example
Description
Steps or Topics
Enter a long
or short
description.
Box will
adjust the length
automatically.
Steps or Topics
Example of
different description
length.

## Slide 48: Please Read Before Editing
Please explore all slide options to see which format fits your content the best. If you run into any issues during editing or need additional slide options, please reach out to events@streamlineconferences.com
Presentation font is Arial Nova (Light, Regular, Bold). This should be available to everyone but, if not, Arial is the next preferred.
Colors to use in addition to black are listed below:
Light Green Accent Color: 3BA40F