## Slide 1: Start, Structure, Succeed: Developing a Water Asset Program in Hexagon EAM
Jesus Suarez and Amanda Jones
Tucson Water

## Slide 2: Agenda
Condition Assessment at Tucson Water
Lead up to September 2024
Pieces of the Puzzle
Assessments
Evaluation & Next Steps
Notes: Amanda

## Slide 3: Check, mate!
Condition Assessment at Tucson Water
Notes: Sonny
Department Stats
TW serves 800K customers a across 420 sq. mile service area
Last year average daily demand of 113MGD (Average = 89MGD)
4500 miles of distribution/transmission network
350 of which are TM >16” potable and reclaim
44 reservoirs and storage tanks
130 distinct booster stations (zone lifts)
120 prvs
188 active wells (300 total)

## Slide 4: Pre-EAM Methodology
Linear Assets
  VodaAi*
  Large Diameter Pipeline Condition Monitoring (2006-Present)*
Vertical Assets
  Reservoirs
  Pressure Tanks
  Boosters/PRVs
*Ongoing programs
Notes: Sonny

## Slide 5: Goals
Use the EAM module to measure the condition of our assets
Leverage our in-house knowledge, skills & abilities
Connect to other asset work (work orders, PMs, etc.)
Centralize the condition information
Standardize the condition collection process
Expand the overall use of EAM
Set us up for RCM (inform design, operation, maintenance)
Notes: Sonny

## Slide 6: Prepping Pros
Leading up to the new approach
Notes: Sonny

## Slide 7: Asset Class Identification
How many classes?
90 Total Asset Classes
  35 Potential Assets
    3 Asset Classes for POC
      Pump, Motor, Well
How did we decide on these three?
Class Criticality
High Volume Failures (pump/motor)
Aging Infrastructure (deep wells)
Notes: Sonny
For context, TW has approx. 1M assets in EAM
-
- 35 asset classes that we could/want to assess
- POC was focused on 3 distinct asset classes (including 9/13 categories)
- example – motor booster / motor well
- example – centrifugal, vertical turbine, submersible
Motor/pump failures (1 year from start)= 15% motors 10%pumps ~800 ea
Average deep well age = 34 (1953 oldest…still producing)

## Slide 8: PoC Timeline
September 2024
Project starts
October 2024
Project team initial workshop
December 2024
Begin requirements gathering
June 2025
Completed requirements
July 2025
Testing
August 2025
Training
August – December 2025
Completion of Proof of concept
Notes: Sonny

## Slide 9: Some Assembly Required
SMEs and Configuration
Notes: Amanda

## Slide 10: Subject Matter Experts
Trades
Well Maintenance
Instrumentation and Controls
Electricians
Project Managers
Hydrologist
Utility Technicians
Planner/Scheduler
Others
Source Water
System Operations
System Planning
Planning & Engineering
EAM Sys Admin
Notes: Amanda

## Slide 11
Equipment Ranking Components
Decay Curves
Useful Life
Performance Formulae
Assessment Survey
  Questions
  Answers
  Weights
One-time creation
  Decay curves
Based on asset class/category
  Assessments
Based on single fields
  Useful life
Based on system data
  Performance formulae
Notes: Amanda

## Slide 12: Workflow
Notes: Amanda

## Slide 13: Measure Twice, Assess Once
How we measured success
Notes: Amanda

## Slide 14: Assessments
Completed between July and December 2024
Eight categories
Three classes
36 assets
Seven sites
  Three well sites
  Four booster sites
Six trades
Approximately 200 work orders
One Planner/Scheduler
Digital Work Application
On-site survey
Notes: Amanda

## Slide 15: Dashboard
Notes: Amanda

## Slide 16: Let’s Go!
Next steps and further implementation
Notes: Sonny

## Slide 17
Upcoming Events & Next Steps
Gap Analysis Completed
  Incorporate suggestions
Leadership Input and Direction
  February 2026
Operations & Methodology Review
  March 2026
Expand the Equipment Ranking Module
Departmental Data Use
Notes: Sonny

## Slide 18: Thank you!